## var_def_weather
data_ID	subset	variable	units	definition	details
weather		year		year
weather		month		month
weather		date		date	yyyy-mm-dd
weather		doy		day of the year
weather		time		datetime	tz: UTC [yyyy-mm-dd HH:MM:SS]
weather		pcpn	mm	precipitation	the mean of the rainfall measured by 4 rain gauges on the BIFoR FACE met towers (bottom) [TR-525M by Texas Electronics (Dallas; Texas); Resolution: 0.1 mm; Accuracy: 50 mm per hour or +/-1%; Range: 700 mm per hour]
weather		air_temp	°C	air temperature	the mean of the air temperature measured by 4 sensors on the BIFoR FACE met towers (top) [HMP155RH by Vaisala (Helsinki; Finland); Range: −80 ... +60 °C; Accuracy: at −80 ... +20 °C (−112 ... +68 °F)±(0.226 - 0.0028 × temperature) °C]
weather		RH	%	relative humidity	the mean of the relative humidity measured by 4 sensors on the BIFoR FACE met towers (top) [HMP155RH by Vaisala (Helsinki; Finland); Range: 0-100 %RH; Accuracy at −20 ... +40 °C: ±(1.0 + 0.008 × reading) %RH]
weather		amb_P	hPa	ambient pressure	the mean of the ambient pressure measured by 4 sensors on the BIFoR FACE met towers (top) [PTB210 by Vaisala (Helsinki; Finland); Total accuracy: ± 0.50 hPa]
weather		WS	m/s	wind speed	the mean of the wind speed measured by 4 sensors on the BIFoR FACE met towers (top) [R3-100 by Gill Instruments (Lymington; UK); Range: 0-45 m/s; Resolution: 0.01 m/s]
weather		PAR	µmol m-2 s-1	Photosynthetically Active Radiation	measured as Photosynthetic Photon Flux Density (PPFD); the mean of PAR measured by 4 sensors on the BIFoR FACE met towers (top) [LI-190R Quantum Sensor by LI-COR Biosciences (Lincoln; USA); Sensitivity: Typically 5 μA to 10 μA per 1000 μmol s-1 m-2]
weather		net_rad	W/m2	net solar radiation	the mean of net radiation measured by 4 sensors on the BIFoR FACE met towers (top) [Lite2 by Kipp & Zonen (Delft; The Netherlands); Spectral range: 0.2 to 100 µm = 200 to 100.000 nm; Sensitivity: 10 µV/W/m²]
weather		SVP	kPa	saturated air vapour pressure	using Tetens equation: SVP = 0.61078 * e^[(17.27 * air_temp) / (air_temp + 237.3)
weather		VPD	kPa	air vapour pressure deficit	VPD = SVP-AVP = SVP * (1-(RH/100) where AVP: actual air vapour pressure (kPa) AVP = (RH*SVP)/100)